SOP 43 Template 1

Laboratory Equipment validation and maintenance

The use of this template is not mandated by the JRMO and may be adapted to be study specific.

| Equipment Name |  |  |
| --- | --- | --- |
| Serial/Identification Number |  |  |
| Equipment Location |  |  |
|  | Comments | Acceptable Y/N |
| Intended use of equipment | How will the equipment be used in the study? Consider the contribution of the equipment to maintaining primary/secondary endpoints |  |
| Equipment documentation | Installation documentation Manufacturers Operating Manual Internal SOP/User Guide |  |
| Equipment acceptance testing | The laboratory shall verify upon installation and before use that the equipment is capable of achieving the necessary performance and that it complies with requirements relevant to any examinations concerned Each item of equipment shall be uniquely labelled, marked or otherwise identified |  |
| Equipment Calibration | The laboratory shall have a documented procedure for the calibration of equipment that directly or indirectly affects examination results |  |
| Maintenance schedule | The laboratory shall have a documented programme of maintenance which, at a minimum, follows the manufacturer’s instructions and internal laboratory maintenance schedule. Any defective equipment that fails maintenance checks must be taken out of use until necessary repairs and validation is completed. |  |
| Sign Off | Signature | Date |
| Laboratory Scientist |  |  |
| Laboratory Manager |  |  |